Owner’s Project Requirements Document

Project:

Approved:

Name		Owner’s Representative		Date

Name		Design Agent’s Representative		Date

Overview and Instructions

Building projects funded by a government organization require an OPR.  This template contains basic, recommended components and may be adapted as needed to include green building program requirements and the requirements of the building owner and end-users.

The purpose of this document is to provide clear and concise documentation of the Owner’s goals, expectations and requirements for the new facility and its commissioned systems, and shall be utilized throughout the project delivery and commissioning process to provide an informed baseline and focus for design development and for validating systems’ energy and environmental performance.

The intent of the Owner’s Project Requirements document is to detail the functional requirements of a project and the expectations of the building’s use and operation.

The Owner’s Project Requirements Document must be completed during the pre-design phase of a new construction project in collaboration with the facility’s design team. It will serve as an integral guideline and design tool through the life of the project.

Updates to the Owner’s Project Requirements Document throughout the course of project delivery shall be made by the Primary Design Team Contact based on decisions and agreements coordinated with and agreed to by the Owner and the design team.

This template was developed by the Manitoba Hydro Power Smart for New Business Program and it may be used if your organization does not have its own OPR template.

Owner’s Project Requirements Document

Table of Contents

- Owner and User Requirements

- Primary Purpose, Program and Use

- Project History

- Broad Goals

- Environmental and Sustainability Goals

- Energy Efficiency Goals

- General

- Building Siting, Orientation, and Layout

- Building Façade

- Building Fenestration

- Building Envelope

- Roof

- Other

3.	Indoor Environmental Quality Requirements

- Intended Use

- Occupancy Schedule

- Accommodations for After-Hours Use

- Lighting, Temperature, Humidity, Air Quality, Ventilation, Filtration

- Acoustics

- Occupant Ability to Adjust System Controls

- Types of Lighting

4.	Equipment and Systems Expectations

- Space Heating

- Ventilation

- Air Conditioning

- Domestic Hot Water

- Refrigeration

- HVAC Controls

- Lighting Controls

- Daylighting Controls

- Emergency Power

- Other

5.	Building Occupant and O&M Personnel Requirements

- Facility Operation

- EMCS

- Occupant Training and Orientation

- O&M Staff Training and Orientation

TABLE 1  Design Criteria, Special Occupancy and Exceptions

## 1.	Owner and User Requirements

What are the primary purpose, program and use of this project? (example: office building with data center)

Describe pertinent project history. (example: standard design development)

### Broad Goals

What are the broad goals relative to owner & occupant needs?

What are the broad goals relative to future expansion?

What are the broad goals relative to flexibility?

What are the broad goals relative to quality of materials?

What are the broad goals relative to construction costs?

What are the broad goals relative to operational costs?

What are the broad goals relative to life cycle of the equipment?

Other broad goals: (Insert as applicable)

### 2.   Energy, Environmental and Sustainability Goals

What are the broad project goals relative to energy consumption, sustainability and environmental issues? (example: Manitoba Green Building Program, Power Smart designation, LEED® Silver rating)

What are the specific project goals relative to energy efficiency? (example: A building that is 33% more energy efficient than the same building designed to meet the Model National Energy Code of Canada for Buildings 1997. Refer to GBP Form 1: Verification Criteria)

What are the project goals and requirements for building siting, orientation, and layout that will impact energy use?

What are the project goals and requirements for building facade that will impact energy use?

What are the project goals and requirements for building fenestration that will impact energy use?

What are the project goals and requirements for building envelope that will impact energy use?

What are the project goals and requirements for building roof that will impact energy use?

Other: (Insert as applicable)

### 3.   Indoor Environmental Quality Requirements

What is the intended use for all spaces? For all spaces that have an intended use that is not readily apparent from the space name, provide this information in Table 1.

What is the anticipated occupancy schedule (numbers of occupants and time frames) for all occupied spaces? Indicate the default occupancy schedule below and for all spaces that have an occupancy schedule that differs from the default, provide this information in Table 1.

What accommodations for after-hours use are required? (example: access control, lighting controls, HVAC controls) Indicate general accommodations required below and for all spaces that have special requirements, provide this information in Table 1.

What are the lighting, temperature, humidity, air quality, ventilation, and filtration requirements for all spaces? Indicate the default requirements below and for all spaces that have a requirement that differs from the default, provide this information in Table 1.

Lighting:	
Temperature:

Humidity:	
Air Quality:

Ventilation:

Filtration:

What are the acoustical requirements for all spaces? Indicate the default acoustical requirements below and for all spaces that have a requirement that differs from the default, provide this information in Table 1.

What is the desired level of occupant ability to adjust systems controls?  Indicate the default desired levels below and for all spaces that have a desired level that differs from the default, provide this information in Table 1.

Lighting:

Temperature:	
Humidity:	
Air Quality:

Ventilation:

What, if any, specific types of lighting are desired? (example: fluorescent in 2x2 grid, accent lighting, particular lamps)

### 4.   Equipment and System Expectations

(Complete for each category as applicable or indicate “none identified” or “N/A”. Add desired features information for other anticipated commissioned systems as applicable)

Indicate desired features for the following commissioned system: Space Heating

Desired Type:

Quality:

Preferred Manufacturer:	
Reliability:	
Automation:

Flexibility:	
Maintenance Requirements:	
Efficiency Target:

Desired Technologies:

Indicate desired features for the following commissioned system: Space Cooling

Desired Type:

Quality:

Preferred Manufacturer:	
Reliability:	
Automation:

Flexibility:	
Maintenance Requirements:	
Efficiency Target:

Desired Technologies:

Indicate desired features for the following commissioned system: Ventilation

Desired Type:

Quality:

Preferred Manufacturer:	
Reliability:	
Automation:

Flexibility:	
Maintenance Requirements:	
Efficiency Target:

Desired Technologies:

Indicate desired features for the following commissioned system: Domestic Hot Water

Desired Type:

Quality:

Preferred Manufacturer:	
Reliability:	
Automation:

Flexibility:	
Maintenance Requirements:	
Efficiency Target:

Desired Technologies:

Indicate desired features for the following commissioned system: Refrigeration

Desired Type:

Quality:

Preferred Manufacturer:	
Reliability:	
Automation:

Flexibility:	
Maintenance Requirements:	
Efficiency Target:

Desired Technologies:

Indicate desired features for the following commissioned system: HVAC Controls

Desired Type:

Quality:

Preferred Manufacturer:	
Reliability:	
Automation:

Flexibility:	
Maintenance Requirements:	
Efficiency Target:

Desired Technologies:

Indicate desired features for the following commissioned system: Lighting Controls

Desired Type:

Quality:

Preferred Manufacturer:	
Reliability:	
Automation:

Flexibility:	
Maintenance Requirements:	
Efficiency Target:

Desired Technologies:

Indicate desired features for the following commissioned system: Daylighting Controls

Desired Type:

Quality:

Preferred Manufacturer:	
Reliability:	
Automation:

Flexibility:	
Maintenance Requirements:	
Efficiency Target:

Desired Technologies:

Indicate desired features for the following commissioned system: Emergency Power

Desired Type:

Quality:

Preferred Manufacturer:	
Reliability:	
Automation:

Flexibility:	
Maintenance Requirements:	
Efficiency Target:

Desired Technologies:

Indicate desired features for the following commissioned system: Other -

Desired Type:

Quality:

Preferred Manufacturer:	
Reliability:	
Automation:

Flexibility:	
Maintenance Requirements:	
Efficiency Target:

Desired Technologies:

### 5.   Building Occupant and O&M Personnel Requirements

How will the facility be operated? Who will operate the facility?

Will the facility be connected to an EMCS? If so, what are the interface requirements? (example: monitoring points, control points, scheduling)

What is the desired level of training and orientation for building occupants to understand and use the building systems? How and when will they be trained?

How and when will training and orientation occur for O&M staff to understand and maintain the building systems?

TABLE 1  Design Criteria, Special Occupancy and Exceptions

| Space | Use / Activity | Num of Occs | Special Occupancy Schedule | After Hours Use Reqmt. | Special Cooling Reqmt. | Special Heating Reqmt. | Special Humidity Reqmt. | Special Ventil./Filtration Reqmt. | Special Acoustic Reqmt. | Special Lighting Reqmt. | Special Occup Adjustability Reqmt. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |