## ReadMe
Manitoba Geological Survey
Data Repository Item DRI2019003
Laser-ablation inductively coupled plasma–mass spectrometry (LA-ICP-MS) analyses of columbite grains from Li-bearing pegmatites, Wekusko Lake pegmatite field (northeastern block), central Manitoba (part of NTS 63J13)
by T. Martins, D. Benn¹ and C.R.M. McFarlane2
1 Department of Earth Sciences, Western University, London, ON N6A 5B7 2 Department of Earth Sciences, University of New Brunswick, Fredericton, New Brunswick
Contents: Metadata Table 1_1: Raw LA-ICP-MS data of columbite grains from Li-bearing pegmatites, Wekusko Lake pegmatite field. Table 1_2: Raw LA-ICP-MS data for laboratory standards. Tab 1_1: Concordia diagram for all data combined from columbite grains of Li-bearing pegmatites, Wekusko Lake pegmatite field. Tab 1_2: BSE imagery of columbite grains with ablation pits represented by red circles.
Abbreviations: BSE, backscattered electron; conc., concordance; cps, counts per seccond; err. corr., error correlation; ICP-MS, inductively coupled plasma–mass spectrometry; LA-ICP-MS, laser-ablation inductively coupled plasma–mass spectrometry; Li, lithium; MSWD, mean square weighted deviation; ppm, parts per million
Manitoba Growth, Enterprise and Trade does not assume any liability for errors that may occur. The digital data are provided as received from the author and have not been edited or formatted. Any third-party data are supplied on the understanding that they are for the sole use of the licensee, and will not be redistributed in any form, in whole or in part. Any references to proprietary software in the documentation and/or any use of proprietary data formats in this release do not constitute endorsement by Manitoba Growth, Enterprise and Trade of any manufacturer's product.
When using information from this publication in other publications or presentations, due acknowledgment should be given to the Manitoba Geological Survey. The following reference format is recommended:
Martins, T., Benn, D. and McFarlane, C.R.M. 2019: Laser-ablation inductively coupled plasma–mass spectrometry (LA-ICP-MS) analyses of columbite grains from Li-bearing pegmatites, Wekusko Lake pegmatite field (northeastern block), central Manitoba (part of NTS 63J13); Manitoba Growth, Enterprise and Trade, Manitoba Geological Survey, Data Repository Item DRI2019003, Microsoft® Excel® file.
References
Petrus, J.A. and Kamber, B.S. 2012: VizualAge: a novel approach to laser ablation ICP-MS U-Pb geochronology data reduction; Geostandards and Geoanalytical Research, v. 36, p. 247–270.
Published 2019 by: Manitoba Growth, Enterprise and Trade Manitoba Geological Survey 360-1395 Ellice Avenue Winnipeg, Manitoba R3G 3P2 Canada
Tel: 1-800-223-5215 (General Enquiry)
Tel: 204-945-6569 (Resource Centre)
Fax: 204-945-8427
E-mail: minesinfo@gov.mb.ca
Website: www.manitoba.ca/minerals

## Metadata
Metadata
Project_Information
Project_Number | MGS2017_002
Project_Name | Li potential in Manitoba_Wekusko Lake pegmatites
Project_Lead | T. Martins
Publication_Release_Date | 2019-09-11
Publication_Number | DRI2019003
Organization_Responsible | MGS
Total_Samples_Analyzed | 4 thin sections
NTS_Sheet_250K | 63J13
NTS_Sheet_50K | 63J
Datum_For_Sample_Locations | NAD83
Zone | 14N
Sample_ID | FAR18-34-39
Easting1 | 459526.9E
Northing1 | 6080332.4N
Sample_ID | FAR18-35-35a
Easting1 | 458499E
Northing1 | 6079103.6N
Sample_ID | FAR17-15-60a
Easting1 | 458499E
Northing1 | 6079103.6N
Sample_ID | FAR17-15-60b
Easting1 | 458499E
Northing1 | 6079103.6N
1 The X, Y coordinates provided for the drillcore samples are drill collar locations.
Sample_Methodology
Samples were collected from drillcore FAR18-34-39, FAR18-35-35a, FAR17-15-60a and FAR17-15-60b using a hammer. Each sample was individually bagged and sealed with tape to avoid contamination. Polished thin sections were prepared at Western University in London, Ontario. Detailed petrographic examination was carried out on an Olympus BX51 microscope. Back-scattered electron (BSE) imagery was collected at Western University on a JEOL JXA-8530F microprobe, under operating conditions of 15.0 kV and a beam current of 100 nA. Columbite-tantalite group minerals were analyzed in situ at the Department of Earth Sciences, University of New Brunswick. Selected grains were dated using an Australian Scientific Instruments (formerly Resonetics) RESOlution Series M-50-LR 193 nm excimer laser-ablation system coupled with an Agilent 7700x quadrupole ICP-MS equipped with dual external rotary pumps. Columbite-tantalite grains were analyzed with a crater size of 24 µm, 3.5 Hz repetition rate and 30 s ablation time following 30 s of background collection. The grains were ablated with a laser fluence of ~3 J/cm2. An ablation sequence, comprising 16 analyses of NIST610 reference glasses throughout the sequence and at least 15 well-characterized U-Pb age standards, was distributed so as to bracket blocks of five to ten unknowns. Columbite-tantalite standards were the 1060 Ma Kragero pegmatite, Bamble sector, southeastern Norway; and the 270 Ma Amelia tantalite from the Morefield pegmatite, Winterham, Virginia. Ablated aerosols were carried out in the Laurin Technic S-155 two-volume sample cell using pure He at a flow rate of 300 mL/min. This was mixed with 930 mL/min of Ar carrier gas and 2.0 mL/min of N2, which is used to enhance ionization efficiency in the ICP-MS plasma. Before entering the ICP-MS torch, the combined gas stream passes through a smoothing device (Laurin Technic 'squid'). The Agilent 7700x ICP-MS was operated at an RF power of 1550 W with ion lenses tuned to obtain <0.3% ThO+/Th+ and U+/Th+ of ~1.05, as measured on NIST610 reference glasses. One sweep of the ICP-MS quadrupole comprised a rapid (0.01 s) measurement of guide masses (93Nb and 181Ta), followed by 204Pb (0.04 s), 206Pb (0.05 s), 207Pb (0.07 s), 208Pb (0.01 s), 232Th (0.01 s) and 238U (0.02 s). This gave a total measurement time of ~0.25 s per sweep or ~120 measurements per 30 s ablation. The ICP-MS datafile (data as counts/sec) and laser-sequence log file were combined offline in Iolite v. 3.32 and ages were calculated using the VizualAge U-Pb geochronology data-reduction scheme described by Petrus and Kamber (2012).
Analysis_Information
Laboratory | Laser Ablation ICP-MS; University of New Brunswick
Analyst_Name | Chris McFarlane
Laboratory_Report_Number | MAR1119A_columbite_new_template
Rock_type | pegmatite
Sample_medium | in situ; thin section
Mineral | columbite
Analytical_Method | LA-ICP-MS
Analysis_Purpose | crystallization age of Li-bearing pegmatites

## Table 1_1
Table 1_1: Raw LA-ICP-MS data of columbite grains from Li-bearing pegmatites.
Date_Time | Ablation_ID | Nb_ppm_SQ_m93 | U_ppm | Th_ppm | U/Th | 204Pb_Cps | 2σ | 206Pb/204Pb_cps | 207Pb/235U_cps | 2σ | 206Pb/238U_cps | 2σ | err. corr. | 207Pb/206Pb_cps | 2σ | 207Pb/206Pb | 2σ | 207Pb/235U | 2σ | 206Pb/238U | 2σ | %conc | 238U/206Pb | 2σ | 207Pb/206Pb | 2σ | err. corr. | Discordance calculation if necessary
11/03/2019 (2) 17:02:35.94 | C_15-60b_c2 - 1 | 401142.5454 | 2280 | 2.43 | 938.2716 | -84 | 17 | 35070 | 0.1781 | 0.01 | 0.01686 | 0.00069 | 0.8755 | 0.0759 | 0.0022 | 1094 | 56 | 166.1 | 8.8 | 108.2 | 4.5 | 65.1415 | 59.312 | 2.4274 | 0.0759 | 0.0022 | -0.07867 | 0.18496 | 1.9371 | 1.9459 | 1.767 | 90.8066
11/03/2019 (2) 17:03:29.86 | C_15-60b_c2 - 2 | 506930.8977 | 5382 | 5.73 | 939.267 | -82 | 23 | 81103.2398 | 0.1547 | 0.0068 | 0.01729 | 0.00049 | 0.11018 | 0.0646 | 0.0019 | 754 | 64 | 146 | 5.9 | 110.5 | 3.1 | 75.6849 | 57.8369 | 1.6391 | 0.0646 | 0.0019 | 0.53275 | 0.12408 | 1.1013 | 1.1083 | 0.95265 | 85.9549
11/03/2019 (2) 17:04:24.00 | C_15-60b_c2 - 3 | 423748.5161 | 1696 | 18.32 | 92.5764 | -54 | 27 | 24020 | 0.2524 | 0.012 | 0.01793 | 0.00059 | 0.48221 | 0.1021 | 0.0038 | 1654 | 70 | 228.4 | 10 | 114.6 | 3.7 | 50.1751 | 55.7724 | 1.8352 | 0.1021 | 0.0038 | 0.34689 | 0.2925 | 4.0985 | 4.1089 | 3.8559 | 93.8418
11/03/2019 (2) 17:05:23.14 | C_15-60b_c2 - 4 | 379888.6784 | 2270 | 10.03 | 226.321 | -110 | 20 | 43840.557 | 0.2186 | 0.011 | 0.02005 | 0.00064 | 0.64166 | 0.0781 | 0.0024 | 1150 | 59 | 200.6 | 8.8 | 128 | 4.1 | 63.8086 | 49.8753 | 1.592 | 0.0781 | 0.0024 | 0.1341 | 0.1953 | 2.1036 | 2.1127 | 1.8932 | 89.6096
11/03/2019 (2) 16:49:08.36 | C_15-60a_c3 - 2 | 519931.8796 | 7480 | 85.3 | 87.6905 | -151 | 36 | 307051.3911 | 0.557 | 0.03 | 0.0507 | 0.0023 | 0.89309 | 0.082 | 0.0021 | 1244 | 51 | 451 | 19 | 318 | 14 | 70.51 | 19.7239 | 0.89477 | 0.082 | 0.0021 | 0.35805 | 0.21285 | 2.4047 | 2.4141 | 1.8548 | 76.8318
11/03/2019 (2) 16:46:36.26 | C_15-60a_c3 - 1 | 454178.8713 | 2393 | 177 | 13.5198 | -59 | 43 | 128320.1553 | 0.428 | 0.023 | 0.0518 | 0.0023 | 0.68965 | 0.0606 | 0.0021 | 619 | 76 | 361.3 | 16 | 326 | 14 | 90.2297 | 19.305 | 0.85717 | 0.0606 | 0.0021 | 0.31996 | 0.10078 | 0.83974 | 0.84576 | 0.41464 | 49.0255
11/03/2019 (2) 16:43:44.26 | C_15-60a_c2g1 - 2 | 553916.2153 | 1700 | 520 | 3.2692 | -65 | 34 | 76015.8269 | 0.754 | 0.039 | 0.0593 | 0.0025 | 0.7483 | 0.0943 | 0.003 | 1512 | 60 | 570 | 23 | 371 | 15 | 65.0877 | 16.8634 | 0.71094 | 0.0943 | 0.003 | 0.30252 | 0.26434 | 3.4331 | 3.4432 | 2.6869 | 78.0344
11/03/2019 (2) 17:06:22.74 | C_15-60b_c3g1 - 1 | 227345.5378 | 201.2 | 2.24 | 89.8214 | -27 | 23 | 15380 | 0.95 | 0.052 | 0.0723 | 0.0027 | 0.47958 | 0.0956 | 0.004 | 1526 | 80 | 680 | 29 | 450 | 16 | 66.1765 | 13.8313 | 0.51652 | 0.0956 | 0.004 | 0.15773 | 0.26709 | 3.4946 | 3.5048 | 2.5521 | 72.816
11/03/2019 (2) 16:36:30.21 | C_15-60a_c3g1 - 1 | 516826.2286 | 1189 | 10.61 | 112.0641 | -101 | 28 | 89622.3941 | 0.984 | 0.049 | 0.1134 | 0.0037 | 0.44701 | 0.0656 | 0.0022 | 791 | 70 | 695 | 25 | 693 | 21 | 99.7122 | 8.8183 | 0.28772 | 0.0656 | 0.0022 | 0.30948 | 0.13055 | 1.1793 | 1.1865 | 0.19608 | 16.5254
11/03/2019 (2) 16:41:03.66 | C_15-60a_c3g1 - 2 | 493699.8353 | 340.6 | 3.22 | 105.7764 | -125 | 23 | 43207.7227 | 1.629 | 0.078 | 0.1436 | 0.0047 | 0.51665 | 0.0829 | 0.0026 | 1267 | 62 | 980 | 30 | 865 | 27 | 65.6181 | 6.9638 | 0.22792 | 0.0829 | 0.0026 | 0.30543 | 0.21719 | 2.4827 | 2.4922 | 0.85686 | 34.3819
11/03/2019 (2) 16:54:39.35 | C_15-60b_c1g1 - 3 | 456428.0013 | 134.3 | 2.98 | 45.0671 | -186 | 26 | 40460 | 4.238 | 0.2 | 0.2886 | 0.0087 | 0.49861 | 0.1052 | 0.0032 | 1712 | 56 | 1680 | 38 | 1634 | 43 | 96.3494 | 3.465 | 0.10445 | 0.1052 | 0.0032 | 0.19048 | 0.30418 | 4.3982 | 4.4087 | 0.16094 | 3.6506
11/03/2019 (2) 16:50:02.20 | C_15-60a_c3 - 3 | 501180.9657 | 241.2 | 22.7 | 10.6256 | -124 | 19 | 66817.775 | 3.787 | 0.17 | 0.2935 | 0.0091 | 0.74594 | 0.095 | 0.0024 | 1527 | 48 | 1589 | 35 | 1662 | 44 | 108.2395 | 3.4072 | 0.10564 | 0.095 | 0.0024 | 0.17847 | 0.26728 | 3.499 | 3.5092 | 0.28914 | 8.2395
11/03/2019 (2) 17:01:00.75 | C_15-60b_c1g1 - 7 | 461053.1925 | 58.5 | 0.78 | 75 | -108 | 36 | 19620 | 4.62 | 0.28 | 0.3107 | 0.012 | 0.43867 | 0.105 | 0.0049 | 1733 | 83 | 1749 | 51 | 1743 | 57 | 97.5887 | 3.2185 | 0.12431 | 0.105 | 0.0049 | 0.24199 | 0.30843 | 4.511 | 4.5215 | 0.10903 | 2.4113
11/03/2019 (2) 16:52:50.68 | C_15-60b_c1g1 - 1 | 470841.569 | 89.57 | 0.663 | 135.098 | -128 | 25 | 29070 | 4.717 | 0.21 | 0.3158 | 0.0092 | 0.37226 | 0.1075 | 0.0032 | 1758 | 56 | 1771 | 36 | 1769 | 45 | 98.526 | 3.1666 | 0.092249 | 0.1075 | 0.0032 | 0.36101 | 0.31352 | 4.6484 | 4.6589 | 0.068672 | 1.474
11/03/2019 (2) 16:42:51.16 | C_15-60a_c2g1 - 1 | 530625.6696 | 110 | 1.077 | 102.1356 | -145 | 17 | 32390 | 4.697 | 0.21 | 0.3168 | 0.0089 | 0.38233 | 0.1079 | 0.003 | 1772 | 47 | 1767 | 38 | 1774 | 44 | 100.6288 | 3.1566 | 0.088679 | 0.1079 | 0.003 | 0.23964 | 0.31637 | 4.7268 | 4.7374 | 0.029788 | 0.62878
11/03/2019 (2) 16:53:37.46 | C_15-60b_c1g1 - 2 | 473976.7233 | 111.7 | 1.023 | 109.1887 | -154 | 21 | 33700 | 4.904 | 0.22 | 0.3217 | 0.0093 | 0.69242 | 0.1107 | 0.0029 | 1807 | 47 | 1805 | 39 | 1798 | 46 | 99.5201 | 3.1085 | 0.089863 | 0.1107 | 0.0029 | -0.026398 | 0.32354 | 4.9276 | 4.9382 | 0.023699 | 0.4799
11/03/2019 (2) 16:59:00.42 | C_15-60b_c1g1 - 5 | 476341.378 | 66.79 | 0.686 | 97.3615 | -132 | 20 | 20480 | 4.94 | 0.23 | 0.3243 | 0.0091 | 0.39087 | 0.1094 | 0.0032 | 1790 | 56 | 1809 | 39 | 1810 | 44 | 102.2908 | 3.0836 | 0.086526 | 0.1094 | 0.0032 | 0.16718 | 0.32006 | 4.8292 | 4.8398 | 0.11087 | 2.2908
11/03/2019 (2) 16:42:00.33 | C_15-60a_c3g1 - 3 | 529657.6201 | 85.5 | 0.634 | 134.858 | -141 | 24 | 27720 | 4.61 | 0.23 | 0.3244 | 0.012 | 0.77782 | 0.105 | 0.0032 | 1707 | 56 | 1751 | 43 | 1809 | 58 | 105.4602 | 3.0826 | 0.11403 | 0.105 | 0.0032 | 0.040547 | 0.30317 | 4.3717 | 4.3822 | 0.23927 | 5.4602
11/03/2019 (2) 17:00:01.98 | C_15-60b_c1g1 - 6 | 455075.1858 | 56.8 | 0.584 | 97.2603 | -118 | 22 | 18880 | 4.98 | 0.25 | 0.327 | 0.01 | 0.3635 | 0.1075 | 0.0041 | 1742 | 69 | 1816 | 43 | 1823 | 51 | 109.1952 | 3.0581 | 0.09352 | 0.1075 | 0.0041 | 0.29507 | 0.31026 | 4.5601 | 4.5706 | 0.42027 | 9.1952
11/03/2019 (2) 16:58:06.55 | C_15-60b_c1g1 - 4 | 470283.177 | 55.37 | 0.549 | 100.8561 | -105 | 19 | 16890 | 5.01 | 0.24 | 0.3286 | 0.0094 | 0.22989 | 0.1087 | 0.0036 | 1782 | 60 | 1820 | 40 | 1831 | 45 | 104.7301 | 3.0432 | 0.087055 | 0.1087 | 0.0036 | 0.26258 | 0.31842 | 4.7835 | 4.794 | 0.22677 | 4.7301
11/03/2019 (2) 15:57:14.20 | C_34-39_c2g2 - 1 | 465744.3978 | 778 | 0.768 | 1013.0208 | -89 | 25 | 34560 | 0.374 | 0.021 | 0.03597 | 0.0013 | 0.70596 | 0.0751 | 0.0025 | 1064 | 68 | 322 | 15 | 227.8 | 8.1 | 70.7453 | 27.801 | 1.0048 | 0.0751 | 0.0025 | 0.035513 | 0.17946 | 1.8516 | 1.8603 | 1.4846 | 79.8027
11/03/2019 (2) 16:05:58.11 | C_34-39_c3g1 - 2 | 502997.5589 | 304 | 4.26 | 71.3615 | -26 | 32 | 19690 | 0.977 | 0.055 | 0.0796 | 0.0031 | 0.27403 | 0.0935 | 0.0043 | 1528 | 80 | 698 | 31 | 494 | 19 | 70.7736 | 12.5628 | 0.48926 | 0.0935 | 0.0043 | 0.35379 | 0.26748 | 3.5035 | 3.5137 | 2.5335 | 72.1027
11/03/2019 (2) 16:31:10.91 | C_35-35a_c2g3 - 1 | 300702.5907 | 54.1 | 0.285 | 189.8246 | -29 | 17 | 11270 | 3.22 | 0.18 | 0.2228 | 0.0078 | 0.47262 | 0.1056 | 0.0041 | 1733 | 72 | 1457 | 43 | 1296 | 41 | 71.3851 | 4.4883 | 0.15713 | 0.1056 | 0.0041 | 0.23062 | 0.30843 | 4.511 | 4.5215 | 1.2938 | 28.6149
11/03/2019 (2) 16:27:35.18 | C_35-35a_c2g2 - 4 | 323557.0736 | 28.88 | 0.11 | 262.5455 | -61 | 20 | 6870 | 3.66 | 0.24 | 0.2472 | 0.01 | 0.54642 | 0.1106 | 0.0051 | 1796 | 90 | 1548 | 54 | 1422 | 52 | 75.2576 | 4.0453 | 0.16365 | 0.1106 | 0.0051 | 0.094742 | 0.32128 | 4.8638 | 4.8744 | 1.206 | 24.7424
11/03/2019 (2) 15:44:26.85 | C_34-39_c2g1 - 1 | 505863.9802 | 996 | 18.3 | 54.4262 | -27 | 21 | 32120 | 0.374 | 0.02 | 0.03868 | 0.0014 | 0.71954 | 0.0707 | 0.0026 | 941 | 76 | 322 | 15 | 244.6 | 8.6 | 75.9627 | 25.8531 | 0.93574 | 0.0707 | 0.0026 | 0.081395 | 0.15716 | 1.5263 | 1.5343 | 1.1583 | 75.4947
11/03/2019 (2) 16:28:29.36 | C_35-35a_c2g2 - 5 | 502793.346 | 70 | 0.218 | 321.1009 | -94 | 17 | 17730 | 3.679 | 0.18 | 0.2564 | 0.0087 | 0.51744 | 0.1064 | 0.0034 | 1741 | 58 | 1566 | 40 | 1470 | 45 | 80.7841 | 3.9002 | 0.13234 | 0.1064 | 0.0034 | 0.24673 | 0.31006 | 4.5546 | 4.5651 | 0.87723 | 19.2159
11/03/2019 (2) 16:24:52.59 | C_35-35a_c2g2 - 3 | 498231.0063 | 101.9 | 0.414 | 246.1353 | -71 | 17 | 25920 | 3.707 | 0.17 | 0.2543 | 0.0076 | 0.52875 | 0.1059 | 0.003 | 1723 | 52 | 1570 | 38 | 1465 | 40 | 83.172 | 3.9324 | 0.11752 | 0.1059 | 0.003 | 0.093545 | 0.30641 | 4.457 | 4.4675 | 0.75179 | 16.828
11/03/2019 (2) 16:34:46.50 | C_35-35a_c2g4 - 1 | 534053.1005 | 81.2 | 0.162 | 501.2346 | -54 | 16 | 22380 | 4.163 | 0.19 | 0.2788 | 0.0081 | 0.33712 | 0.1098 | 0.0033 | 1796 | 54 | 1666 | 38 | 1585 | 41 | 85.5972 | 3.5868 | 0.10421 | 0.1098 | 0.0033 | 0.28814 | 0.32128 | 4.8638 | 4.8744 | 0.70204 | 14.4028
11/03/2019 (2) 16:02:26.53 | C_34-39_c2g2 - 5 | 522342.3079 | 760 | 4.73 | 160.6765 | -24 | 26 | 104336.0166 | 1.22 | 0.18 | 0.116 | 0.022 | 0.89887 | 0.0802 | 0.005 | 1120 | 140 | 772 | 80 | 670 | 110 | 86.7876 | 8.6207 | 1.635 | 0.0802 | 0.005 | 0.33985 | 0.18975 | 2.0133 | 2.0222 | 0.79671 | 39.3979
11/03/2019 (2) 16:23:03.96 | C_35-35a_c2g2 - 1 | 510867.6008 | 71.5 | 0.483 | 148.0331 | -20 | 30 | 17850 | 4.78 | 0.27 | 0.3037 | 0.0098 | 0.087418 | 0.115 | 0.0055 | 1896 | 84 | 1790 | 48 | 1709 | 48 | 87.3807 | 3.2927 | 0.10625 | 0.115 | 0.0055 | 0.5261 | 0.34194 | 5.4706 | 5.4813 | 0.6917 | 12.6193
11/03/2019 (2) 15:47:11.55 | C_34-39_c2g1 - 2 | 508487.4744 | 52.85 | 0.074 | 714.1892 | -55 | 18 | 18010 | 4.87 | 0.23 | 0.3193 | 0.0099 | 0.21673 | 0.107 | 0.0034 | 1743 | 61 | 1796 | 38 | 1785 | 48 | 93.3439 | 3.1319 | 0.097104 | 0.107 | 0.0034 | 0.45266 | 0.31047 | 4.5655 | 4.5761 | 0.30459 | 6.6561
11/03/2019 (2) 15:50:46.23 | C_34-39_c2g1 - 4 | 523611.9275 | 61.3 | 0.136 | 450.7353 | -44 | 16 | 20570 | 4.69 | 0.22 | 0.3149 | 0.011 | 0.46654 | 0.1052 | 0.0034 | 1716 | 61 | 1769 | 39 | 1763 | 53 | 93.8897 | 3.1756 | 0.11093 | 0.1052 | 0.0034 | 0.40435 | 0.30499 | 4.4195 | 4.43 | 0.27069 | 6.1103
11/03/2019 (2) 15:51:39.96 | C_34-39_c2g1 - 5 | 525902.0604 | 51.9 | 0.097 | 535.0515 | -57 | 20 | 16300 | 4.66 | 0.23 | 0.3141 | 0.0094 | 0.11729 | 0.1058 | 0.0041 | 1720 | 69 | 1764 | 40 | 1760 | 46 | 95.0741 | 3.1837 | 0.095278 | 0.1058 | 0.0041 | 0.42739 | 0.3058 | 4.4409 | 4.4514 | 0.21927 | 4.9259
11/03/2019 (2) 16:23:58.72 | C_35-35a_c2g2 - 2 | 522241.5376 | 54.92 | 0.168 | 326.9048 | -73 | 17 | 16710 | 4.52 | 0.22 | 0.3064 | 0.0098 | 0.46993 | 0.109 | 0.0035 | 1776 | 61 | 1730 | 41 | 1725 | 47 | 95.1755 | 3.2637 | 0.10439 | 0.109 | 0.0035 | 0.13874 | 0.31719 | 4.7494 | 4.76 | 0.22964 | 4.8245
11/03/2019 (2) 16:09:36.90 | C_35-35a_c1g1 - 2 | 483117.8564 | 401.4 | 1.373 | 292.3525 | -129 | 20 | 124495.9203 | 4.306 | 0.18 | 0.2997 | 0.0083 | 0.604 | 0.10605 | 0.0025 | 1733 | 42 | 1694.8 | 36 | 1689 | 41 | 95.4621 | 3.3367 | 0.092407 | 0.10605 | 0.0025 | 0.28137 | 0.30843 | 4.511 | 4.5215 | 0.20518 | 4.5379
11/03/2019 (2) 15:57:57.20 | C_34-39_c2g2 - 2 | 511269.523 | 54.03 | 0.075 | 720.4 | -51 | 19 | 18230 | 4.61 | 0.22 | 0.3125 | 0.0096 | 0.35054 | 0.1097 | 0.0035 | 1783 | 60 | 1754 | 41 | 1752 | 47 | 96.2651 | 3.2 | 0.098304 | 0.1097 | 0.0035 | 0.28342 | 0.31862 | 4.7892 | 4.7997 | 0.17927 | 3.7349
11/03/2019 (2) 16:16:47.71 | C_35-35a_c1g1 - 6 | 356498.3323 | 32.61 | 0.266 | 122.594 | -66 | 22 | 9850 | 5.28 | 0.31 | 0.334 | 0.014 | 0.39993 | 0.1129 | 0.0054 | 1839 | 89 | 1860 | 51 | 1856 | 65 | 96.8285 | 2.994 | 0.1255 | 0.1129 | 0.0054 | 0.43934 | 0.33013 | 5.1174 | 5.128 | 0.16263 | 3.1715
11/03/2019 (2) 16:08:42.78 | C_35-35a_c1g1 - 1 | 482944.4672 | 272.9 | 0.947 | 288.1732 | -108 | 21 | 87262.0446 | 4.381 | 0.19 | 0.304 | 0.0088 | 0.57341 | 0.1072 | 0.0027 | 1752 | 45 | 1709 | 35 | 1710 | 43 | 105.0638 | 3.2895 | 0.095222 | 0.1072 | 0.0027 | 0.27865 | 0.3123 | 4.6151 | 4.6256 | 0.23423 | 5.0638
11/03/2019 (2) 16:33:53.89 | C_35-35a_c2g3 - 2 | 467855.9966 | 50.5 | 0.541 | 93.3457 | -35 | 18 | 14120 | 4.37 | 0.23 | 0.3047 | 0.0098 | 0.30274 | 0.1051 | 0.0043 | 1707 | 76 | 1707 | 43 | 1714 | 49 | 100.0517 | 3.2819 | 0.10556 | 0.1051 | 0.0043 | 0.34928 | 0.30317 | 4.3717 | 4.3822 | 0.0022665 | 0.051722
11/03/2019 (2) 16:35:40.36 | C_35-35a_c3g1 - 1 | 442025.6721 | 32.87 | 0.266 | 123.5714 | -53 | 19 | 9960 | 4.57 | 0.24 | 0.3114 | 0.01 | 0.41313 | 0.1084 | 0.0041 | 1773 | 73 | 1739 | 46 | 1746 | 50 | 103.4263 | 3.2113 | 0.10312 | 0.1084 | 0.0041 | 0.15517 | 0.31658 | 4.7324 | 4.743 | 0.16251 | 3.4263
11/03/2019 (2) 15:40:56.45 | C_34-39_c1 - 3 | 504867.0638 | 69.9 | 0.118 | 592.3729 | -111 | 21 | 24330 | 4.585 | 0.21 | 0.3125 | 0.0092 | 0.41184 | 0.1064 | 0.0029 | 1734 | 52 | 1751 | 38 | 1752 | 45 | 101.5172 | 3.2 | 0.094208 | 0.1064 | 0.0029 | 0.33169 | 0.30864 | 4.5164 | 4.527 | 0.068684 | 1.5172
11/03/2019 (2) 16:10:30.78 | C_35-35a_c1g1 - 3 | 527972.077 | 199.9 | 0.85 | 235.1765 | -110 | 30 | 57631.9535 | 4.6 | 0.26 | 0.3144 | 0.013 | 0.80573 | 0.1086 | 0.0034 | 1779 | 54 | 1745 | 45 | 1761 | 61 | 103.4841 | 3.1807 | 0.13152 | 0.1086 | 0.0034 | 0.17957 | 0.3178 | 4.7664 | 4.777 | 0.16644 | 3.4841
11/03/2019 (2) 15:43:36.59 | C_34-39_c1 - 4 | 512491.3297 | 68.5 | 0.11 | 622.7273 | -62 | 19 | 23310 | 4.672 | 0.21 | 0.3148 | 0.0093 | 0.39008 | 0.1076 | 0.0031 | 1752 | 54 | 1762 | 37 | 1764 | 46 | 101.2316 | 3.1766 | 0.093846 | 0.1076 | 0.0031 | 0.33201 | 0.3123 | 4.6151 | 4.6256 | 0.056967 | 1.2316
11/03/2019 (2) 15:58:53.12 | C_34-39_c2g2 - 3 | 517239.8463 | 52.33 | 0.064 | 817.6562 | -68 | 20 | 17690 | 4.6 | 0.23 | 0.3164 | 0.0099 | 0.39074 | 0.1074 | 0.0039 | 1751 | 68 | 1749 | 41 | 1779 | 51 | 100.227 | 3.1606 | 0.098892 | 0.1074 | 0.0039 | 0.18119 | 0.31209 | 4.6096 | 4.6201 | 0.010486 | 0.22696
11/03/2019 (2) 15:52:33.93 | C_34-39_c2g1 - 6 | 537773.9886 | 58 | 0.086 | 674.4186 | -69 | 26 | 18380 | 4.73 | 0.25 | 0.317 | 0.0096 | 0.24885 | 0.1051 | 0.0039 | 1730 | 71 | 1773 | 43 | 1774 | 47 | 105.226 | 3.1546 | 0.095533 | 0.1051 | 0.0039 | 0.17443 | 0.30783 | 4.4947 | 4.5053 | 0.23544 | 5.226
11/03/2019 (2) 16:15:00.20 | C_35-35a_c1g1 - 4 | 516162.8059 | 247.4 | 0.809 | 305.8096 | -85 | 28 | 73443.6191 | 4.761 | 0.21 | 0.3183 | 0.01 | 0.54073 | 0.1077 | 0.0029 | 1763 | 47 | 1777 | 38 | 1780 | 50 | 101.8101 | 3.1417 | 0.098702 | 0.1077 | 0.0029 | 0.27996 | 0.31454 | 4.6762 | 4.6868 | 0.084835 | 1.8101
11/03/2019 (2) 16:17:41.56 | C_35-35a_c2g1 - 1 | 515869.7199 | 130.9 | 0.429 | 305.1282 | -105 | 21 | 41530 | 4.767 | 0.21 | 0.3183 | 0.009 | 0.45438 | 0.1065 | 0.0028 | 1743 | 47 | 1778 | 37 | 1781 | 44 | 104.4058 | 3.1417 | 0.088832 | 0.1065 | 0.0028 | 0.34092 | 0.31047 | 4.5655 | 4.5761 | 0.20161 | 4.4058
11/03/2019 (2) 15:40:03.70 | C_34-39_c1 - 2 | 502855.2514 | 60.95 | 0.098 | 621.9388 | -76 | 15 | 21780 | 4.656 | 0.22 | 0.3187 | 0.009 | 0.11546 | 0.1071 | 0.0034 | 1747 | 57 | 1759 | 40 | 1783 | 44 | 101.4984 | 3.1377 | 0.088609 | 0.1071 | 0.0034 | 0.43256 | 0.31128 | 4.5875 | 4.5981 | 0.068895 | 1.4984
11/03/2019 (2) 15:59:49.68 | C_34-39_c2g2 - 4 | 490655.0097 | 51.76 | 0.043 | 1203.7209 | -31 | 19 | 18960 | 4.76 | 0.24 | 0.3196 | 0.011 | 0.50187 | 0.1092 | 0.0038 | 1789 | 64 | 1778 | 42 | 1786 | 54 | 101.313 | 3.1289 | 0.10769 | 0.1092 | 0.0038 | 0.14574 | 0.31985 | 4.8235 | 4.8341 | 0.063473 | 1.313
11/03/2019 (2) 15:39:09.26 | C_34-39_c1 - 1 | 501326.3229 | 58.8 | 0.072 | 816.6667 | -66 | 20 | 20980 | 4.7 | 0.23 | 0.3213 | 0.0094 | 0.12072 | 0.1067 | 0.0037 | 1750 | 63 | 1769 | 42 | 1795 | 46 | 102.0895 | 3.1124 | 0.091056 | 0.1067 | 0.0037 | 0.41454 | 0.31189 | 4.604 | 4.6146 | 0.096422 | 2.0895
11/03/2019 (2) 16:15:54.08 | C_35-35a_c1g1 - 5 | 515345.3266 | 184.6 | 0.669 | 275.9342 | -127 | 22 | 55280 | 4.849 | 0.21 | 0.3213 | 0.0093 | 0.45484 | 0.1069 | 0.0028 | 1749 | 46 | 1795 | 38 | 1796 | 46 | 105.4385 | 3.1124 | 0.090087 | 0.1069 | 0.0028 | 0.3316 | 0.31169 | 4.5985 | 4.6091 | 0.25066 | 5.4385
11/03/2019 (2) 16:18:35.45 | C_35-35a_c2g1 - 2 | 536678.8316 | 127.1 | 0.322 | 394.7205 | -82 | 19 | 38890 | 4.958 | 0.22 | 0.3244 | 0.0092 | 0.31061 | 0.1092 | 0.003 | 1791 | 54 | 1811 | 38 | 1811 | 45 | 97.4592 | 3.0826 | 0.087423 | 0.1092 | 0.003 | 0.26153 | 0.32026 | 4.835 | 4.8455 | 0.12312 | 2.5408
11/03/2019 (2) 15:49:55.91 | C_34-39_c2g1 - 3 | 500638.9122 | 55.88 | 0.268 | 208.5075 | -42 | 17 | 24620 | 7.18 | 0.32 | 0.3925 | 0.011 | 0.32078 | 0.128 | 0.0038 | 2064 | 53 | 2132 | 40 | 2137 | 52 | 108.2055 | 2.5478 | 0.071402 | 0.128 | 0.0038 | 0.36248 | 0.37737 | 6.6349 | 6.6456 | 0.54531 | 8.2055
11/03/2019 (2) 16:05:07.76 | C_34-39_c3g1 - 1 | 491235.9467 | 507 | 6.32 | 80.2215 | -47 | 17 | 65929.8889 | 0.923 | 0.046 | 0.1266 | 0.0049 | 0.045513 | 0.0543 | 0.0024 | 358 | 96 | 664 | 25 | 768 | 28 | 218.4045 | 7.8989 | 0.30572 | 0.0543 | 0.0024 | 0.66544 | 0.057106 | 0.42273 | 0.42657 | 0.50508 | 118.4045
Note: shaded fields indicate data plotted on Tab 1_1.

## Table 1_2
Table 1_2: Raw LA-ICP-MS data for laboratory standards.
Date_Time | Ablation_ID | Nb_ppm_SQ_m93 | U_ppm | Th_ppm | U/Th | 204Pb_Cps | 2σ | 206Pb/204Pb_cps | 207Pb/235U_cps | 2σ | 206Pb/238U_cps | 2σ | err. corr. | 207Pb/206Pb_cps | 2σ | 207Pb/206Pb | 2σ | 207Pb/235U | 2σ | 206Pb/238U | 2σ | %conc | 238U/206Pb | 2σ | 207Pb/206Pb | 2σ | err. corr. | Discordance calculation if necessary
11/03/2019 (2) 15:37:27.92 | C_Amelia | 450459.8146 | 1070.9 | 24.45 | 43.7996 | -11 | 19 | 57920 | 0.3234 | 0.015 | 0.04521 | 0.0012 | 0.31293 | 0.0502 | 0.0016 | 208 | 73 | 284.4 | 12 | 285 | 7.7 | 100.211 | 22.119 | 0.5871 | 0.0502 | 0.0016 | 0.08659 | 0.032792 | 0.22734 | 0.22969 | 0.09686 | 42.1694
11/03/2019 (2) 15:45:29.48 | C_Amelia_1 | 489298.1284 | 1165 | 27.25 | 42.7523 | 19 | 21 | 3031.0526 | 0.313 | 0.017 | 0.04406 | 0.0013 | 0.5321 | 0.0498 | 0.0016 | 184 | 74 | 276.5 | 13 | 278 | 8.2 | 100.5425 | 22.6963 | 0.66966 | 0.0498 | 0.0016 | 0.0012951 | 0.028954 | 0.19867 | 0.20077 | 0.11532 | 57.4412
11/03/2019 (2) 15:53:35.14 | C_Amelia_2 | 465422.7592 | 1115 | 25.5 | 43.7255 | -36 | 25 | 57680 | 0.3166 | 0.015 | 0.04415 | 0.0012 | 0.29989 | 0.0504 | 0.0017 | 218 | 77 | 279.1 | 11 | 278.5 | 7.5 | 99.785 | 22.6501 | 0.61563 | 0.0504 | 0.0017 | 0.60093 | 0.034396 | 0.23949 | 0.24194 | 0.077728 | 32.1264
11/03/2019 (2) 16:03:26.75 | C_Amelia_3 | 462696.8734 | 1062 | 24.06 | 44.1397 | -9 | 17 | 54710 | 0.3136 | 0.015 | 0.04469 | 0.0012 | 0.092308 | 0.0519 | 0.0018 | 278 | 78 | 276.7 | 12 | 281.9 | 7.7 | 101.8793 | 22.3764 | 0.60084 | 0.0519 | 0.0018 | 0.46862 | 0.044068 | 0.31494 | 0.318 | 0.001474 | 0.46352
11/03/2019 (2) 16:11:32.77 | C_Amelia_4 | 462928.2472 | 1068 | 23.9 | 44.6862 | -25 | 19 | 55520 | 0.3139 | 0.015 | 0.04494 | 0.0014 | 0.55196 | 0.05018 | 0.0015 | 199 | 68 | 277 | 12 | 283.4 | 8.3 | 102.3105 | 22.2519 | 0.69321 | 0.05018 | 0.0015 | -0.0057976 | 0.031351 | 0.21651 | 0.21877 | 0.098335 | 44.9495
11/03/2019 (2) 16:21:29.05 | C_Amelia_5 | 457144.8599 | 1044 | 23.7 | 44.0506 | -23 | 24 | 53890 | 0.3166 | 0.016 | 0.04423 | 0.0013 | 0.098317 | 0.0508 | 0.0019 | 237 | 88 | 280.6 | 13 | 279 | 7.9 | 99.4298 | 22.6091 | 0.66452 | 0.0508 | 0.0019 | 0.35861 | 0.037449 | 0.2629 | 0.26555 | 0.054128 | 20.3832
11/03/2019 (2) 16:29:33.24 | C_Amelia_6 | 461227.1266 | 1053 | 23.76 | 44.3182 | 2 | 19 | 26160 | 0.3135 | 0.015 | 0.04428 | 0.0013 | 0.5682 | 0.0515 | 0.0015 | 257 | 68 | 276.7 | 11 | 279.3 | 7.9 | 100.9396 | 22.5836 | 0.66302 | 0.0515 | 0.0015 | -0.083821 | 0.040672 | 0.28802 | 0.29088 | 0.025734 | 8.8469
11/03/2019 (2) 16:37:38.90 | C_Amelia_7 | 457394.639 | 1051 | 23.82 | 44.1226 | -15 | 26 | 50430 | 0.3025 | 0.015 | 0.04315 | 0.0013 | 0.39515 | 0.0505 | 0.0016 | 213 | 74 | 268.2 | 12 | 272.3 | 7.8 | 101.5287 | 23.175 | 0.6982 | 0.0505 | 0.0016 | 0.10958 | 0.033594 | 0.2334 | 0.2358 | 0.06976 | 29.5838
11/03/2019 (2) 16:47:34.01 | C_Amelia_8 | 429902.7488 | 1012 | 23.13 | 43.7527 | 35 | 21 | 1439.4286 | 0.3194 | 0.016 | 0.04485 | 0.0013 | 0.31914 | 0.0517 | 0.0017 | 265 | 76 | 281.3 | 12 | 282.8 | 7.9 | 100.5332 | 22.2965 | 0.64628 | 0.0517 | 0.0017 | 0.18631 | 0.041965 | 0.29821 | 0.30115 | 0.021387 | 7.1019
11/03/2019 (2) 16:55:35.65 | C_Amelia_9 | 453947.9991 | 1041 | 23.8 | 43.7395 | -16 | 25 | 48890 | 0.315 | 0.016 | 0.04439 | 0.0012 | 0.037433 | 0.0506 | 0.002 | 204 | 88 | 277.8 | 12 | 280 | 7.5 | 100.7919 | 22.5276 | 0.60899 | 0.0506 | 0.002 | 0.37379 | 0.032152 | 0.22251 | 0.22482 | 0.093292 | 41.4955
08/03/2019 (6) 16:30:36.06 | C_Amelia_12 | [7 empty] | 0.3013 | 0.0099 | 0.04392 | 0.0015 | 0.18627
08/03/2019 (6) 16:19:10.21 | C_Amelia_8 | [7 empty] | 0.3039 | 0.0085 | 0.04402 | 0.0015 | 0.2727
08/03/2019 (6) 15:52:31.17 | C_Amelia_2 | [7 empty] | 0.3094 | 0.0096 | 0.04408 | 0.0015 | 0.31292
08/03/2019 (6) 16:24:30.25 | C_Amelia_10 | [7 empty] | 0.31 | 0.01 | 0.04485 | 0.0016 | 0.27779
08/03/2019 (6) 16:22:13.08 | C_Amelia_9 | [7 empty] | 0.3102 | 0.0084 | 0.04391 | 0.0015 | 0.12007
08/03/2019 (6) 16:10:47.82 | C_Amelia_6 | [7 empty] | 0.3119 | 0.0098 | 0.0442 | 0.0015 | 0.23888
08/03/2019 (6) 15:43:22.84 | C_Amelia | [7 empty] | 0.315 | 0.01 | 0.04433 | 0.0015 | 0.11635
08/03/2019 (6) 15:56:24.27 | C_Amelia_3 | [7 empty] | 0.3154 | 0.0098 | 0.04482 | 0.0016 | 0.46935
08/03/2019 (6) 16:14:36.16 | C_Amelia_7 | [7 empty] | 0.318 | 0.01 | 0.04502 | 0.0016 | 0.1731
08/03/2019 (6) 16:28:18.92 | C_Amelia_11 | [7 empty] | 0.318 | 0.01 | 0.04492 | 0.0016 | 0.42795
08/03/2019 (6) 15:47:11.43 | C_Amelia_1 | [7 empty] | 0.3194 | 0.01 | 0.04438 | 0.0015 | 0.33455
08/03/2019 (6) 16:01:39.46 | C_Amelia_4 | [7 empty] | 0.323 | 0.011 | 0.04453 | 0.0015 | 0.18406
08/03/2019 (6) 16:05:29.26 | C_Amelia_5 | [7 empty] | 0.33 | 0.011 | 0.0434 | 0.0016 | 0.41847
11/03/2019 (2) 15:38:20.28 | C_Kragero | 506141.2781 | 325.3 | 6.71 | 48.4799 | -35 | 26 | 69230 | 1.834 | 0.082 | 0.1787 | 0.0053 | 0.52655 | 0.0735 | 0.002 | 1033 | 55 | 1057 | 29 | 1060 | 29 | 103.8504 | 5.596 | 0.16597 | 0.0735 | 0.002 | 0.33247 | 0.1738 | 1.7659 | 1.7744 | 0.06832 | 3.8504
11/03/2019 (2) 15:46:19.72 | C_Kragero_1 | 535047.7372 | 339.5 | 7.15 | 47.4825 | -17 | 18 | 69740 | 1.913 | 0.085 | 0.1833 | 0.0052 | 0.47395 | 0.0737 | 0.002 | 1034 | 52 | 1086 | 30 | 1085 | 28 | 91.8565 | 5.4555 | 0.15477 | 0.0737 | 0.002 | 0.19063 | 0.17398 | 1.7686 | 1.7771 | 0.14472 | 8.1435
11/03/2019 (2) 15:56:15.26 | C_Kragero_2 | 524132.4002 | 345.9 | 8.78 | 39.3964 | -28 | 23 | 72060 | 1.855 | 0.086 | 0.1797 | 0.0053 | 0.52202 | 0.0739 | 0.0021 | 1039 | 58 | 1064 | 30 | 1067 | 30 | 104.0714 | 5.5648 | 0.16413 | 0.0739 | 0.0021 | 0.17298 | 0.17489 | 1.7822 | 1.7908 | 0.072911 | 4.0714
11/03/2019 (2) 16:04:24.89 | C_Kragero_3 | 503869.1333 | 316.5 | 6.64 | 47.6657 | -49 | 26 | 67130 | 1.725 | 0.081 | 0.1744 | 0.005 | 0.35375 | 0.0734 | 0.0022 | 1020 | 61 | 1017 | 30 | 1036 | 28 | 100.368 | 5.7339 | 0.16439 | 0.0734 | 0.0022 | 0.24173 | 0.17143 | 1.7307 | 1.7391 | 0.0063995 | 0.36797
11/03/2019 (2) 16:12:27.31 | C_Kragero_4 | 507880.4959 | 324.1 | 7.4 | 43.7973 | 12 | 20 | 5510.8333 | 1.783 | 0.086 | 0.1765 | 0.0053 | 0.51785 | 0.0728 | 0.0023 | 1031 | 59 | 1038 | 32 | 1048 | 29 | 101.2886 | 5.6657 | 0.17013 | 0.0728 | 0.0023 | 0.14778 | 0.17343 | 1.7604 | 1.7689 | 0.022794 | 1.2886
11/03/2019 (2) 16:22:10.99 | C_Kragero_5 | 535199.0434 | 330.1 | 7.04 | 46.8892 | -7 | 13 | 60880 | 1.9 | 0.083 | 0.1827 | 0.0052 | 0.486 | 0.07508 | 0.0019 | 1066 | 52 | 1080.2 | 29 | 1081 | 28 | 102.2978 | 5.4735 | 0.15579 | 0.07508 | 0.0019 | 0.27286 | 0.17982 | 1.8572 | 1.8659 | 0.042874 | 2.2978
11/03/2019 (2) 16:30:18.54 | C_Kragero_6 | 544271.9763 | 351.3 | 7.32 | 47.9918 | -13 | 20 | 64270 | 1.851 | 0.082 | 0.1829 | 0.0051 | 0.43833 | 0.0744 | 0.0019 | 1051 | 54 | 1063 | 29 | 1082.7 | 28 | 101.9818 | 5.4675 | 0.15246 | 0.0744 | 0.0019 | 0.1156 | 0.17708 | 1.8153 | 1.8239 | 0.036148 | 1.9818
11/03/2019 (2) 16:40:13.59 | C_Kragero_7 | 524545.6553 | 317.2 | 6.63 | 47.8431 | -11 | 18 | 59060 | 1.872 | 0.083 | 0.1821 | 0.0051 | 0.18007 | 0.0746 | 0.0021 | 1052 | 56 | 1070 | 29 | 1078 | 28 | 102.9626 | 5.4915 | 0.1538 | 0.0746 | 0.0021 | 0.34825 | 0.17726 | 1.8181 | 1.8267 | 0.054119 | 2.9626
11/03/2019 (2) 16:48:22.60 | C_Kragero_8 | 501099.1335 | 303.5 | 6.13 | 49.5106 | -4 | 23 | 59050 | 1.91 | 0.088 | 0.184 | 0.0055 | 0.19511 | 0.0752 | 0.0023 | 1066 | 63 | 1083 | 31 | 1089 | 30 | 102.8374 | 5.4348 | 0.16245 | 0.0752 | 0.0023 | 0.4764 | 0.17982 | 1.8572 | 1.8659 | 0.052942 | 2.8374
11/03/2019 (2) 16:56:19.03 | C_Kragero_9 | 539402.7627 | 322.6 | 6.75 | 47.7926 | -14 | 16 | 56190 | 1.976 | 0.087 | 0.1873 | 0.0055 | 0.20588 | 0.0758 | 0.002 | 1088 | 56 | 1106 | 30 | 1106 | 30 | 97.0807 | 5.339 | 0.15678 | 0.0758 | 0.002 | 0.51007 | 0.18385 | 1.9198 | 1.9286 | 0.056301 | 2.9193

## Tab 1_1
Tab 1_1: Concordia diagram for all data combined from columbite grains of Li-bearing pegmatites.

## Tab 1_2
Tab 1_2: BSE imagery of columbite grains with ablation pits represented by red circles.
15-60b Circle 2 Grain 1
15-60b Circle 1 Grain 1
15-60b Circle 3 Grain 1
15-60a Circle 2 Grain 1
15-60a Circle 3 Grain 1
34-39 Circle 1
34-39 Circle 2 Grain 1
34-39 Circle 2 Grain 2
34-39 Circle 3 Grain 1
35-35a Circle 1 Grain 1
35-35a Circle 2 Grain 1
35-35a Circle 2 Grain 2
35-35a Circle 2 Grain 3
35-35a Circle 2 Grain 4
35-35a Circle 3 Grain 1

## PlotDat1 (hidden)
Source sheet | Table 1 Geochronological Da (3) | 4.737 | 0.31739 | 4 | 0.28853 | 3.9306 | 0.2857 | 5.1629 | 0.32453 | 5.7614 | 0.34649 | 4.8515 | 0.31559 | 5.2896 | 0.3417 | 5.471 | 0.35109 | 5.6937 | 0.34464 | 5.4177 | 0.33935 | 5.3416 | 0.34011 | 5.4823 | 0.33968 | 5.384 | 0.33344
Plot name | Concordia1 | 5.0983 | 0.33961 | 4 | 0.28853 | 4.0287 | 0.28969 | 5.1547 | 0.32648 | 5.7486 | 0.34899 | 4.8462 | 0.31693 | 5.2857 | 0.34263 | 5.4665 | 0.35223 | 5.6839 | 0.3467 | 5.4115 | 0.34093 | 5.337 | 0.34124 | 5.475 | 0.34154 | 5.378 | 0.33493
Plot Type | 1 | 4.5773 | 0.30488 | 4.0584 | 0.29089 | 4.1287 | 0.2937 | 5.1304 | 0.32808 | 5.7109 | 0.35112 | 4.8305 | 0.3178 | 5.2741 | 0.34319 | 5.4533 | 0.35302 | 5.655 | 0.34843 | 5.3933 | 0.34213 | 5.3235 | 0.34199 | 5.4534 | 0.34297 | 5.36 | 0.33611
1st free col | 29 | 5.0873 | 0.33318 | 4.1174 | 0.29325 | 4.2307 | 0.29772 | 5.091 | 0.32926 | 5.6496 | 0.35282 | 4.8051 | 0.31818 | 5.2554 | 0.34336 | 5.4319 | 0.35343 | 5.608 | 0.34976 | 5.3638 | 0.34291 | 5.3015 | 0.34233 | 5.4183 | 0.34393 | 5.3309 | 0.33694
Sigma Level | 1 | 5.2398 | 0.34303 | 4.1771 | 0.29562 | 4.3348 | 0.30175 | 5.0381 | 0.32999 | 5.5671 | 0.354 | 4.771 | 0.31805 | 5.2302 | 0.34315 | 5.4031 | 0.35343 | 5.5448 | 0.35066 | 5.3242 | 0.34323 | 5.2721 | 0.34225 | 5.3712 | 0.34438 | 5.2917 | 0.33739
Absolute Errs | 1 | 5.1856 | 0.33823 | 4.2375 | 0.29799 | 4.4409 | 0.3058 | 4.9735 | 0.33024 | 5.4666 | 0.35463 | 4.7294 | 0.31741 | 5.1995 | 0.34255 | 5.368 | 0.35304 | 5.4677 | 0.35108 | 5.2759 | 0.34308 | 5.2362 | 0.34174 | 5.3138 | 0.3443 | 5.244 | 0.33744
Symbol Type | 1 | 5.099 | 0.33107 | 4.2986 | 0.30036 | 4.5491 | 0.30986 | 4.8998 | 0.32999 | 5.3519 | 0.35469 | 4.6819 | 0.31629 | 5.1645 | 0.34159 | 5.328 | 0.35226 | 5.3799 | 0.351 | 5.2207 | 0.34247 | 5.1953 | 0.34084 | 5.2483 | 0.34369 | 5.1895 | 0.33708
Inverse Plot | 0 | 5.1049 | 0.33129 | 4.3605 | 0.30274 | 4.6595 | 0.31393 | 4.8199 | 0.32926 | 5.2276 | 0.35416 | 4.6305 | 0.31473 | 5.1265 | 0.34031 | 5.2847 | 0.35113 | 5.2846 | 0.35043 | 5.1609 | 0.34142 | 5.1509 | 0.33956 | 5.1773 | 0.34259 | 5.1305 | 0.33634
Color Plot | 1 | 5.1037 | 0.33063 | 4.423 | 0.30512 | 4.7721 | 0.31801 | 4.7368 | 0.32807 | 5.0982 | 0.35308 | 4.577 | 0.31279 | 5.087 | 0.33875 | 5.2395 | 0.34968 | 5.1854 | 0.3494 | 5.0988 | 0.33998 | 5.1047 | 0.33797 | 5.1034 | 0.34102 | 5.069 | 0.33524
3D plot | 0 | 5.0692 | 0.32699 | 4.4863 | 0.30751 | 4.8869 | 0.3221 | 4.6538 | 0.32647 | 4.9688 | 0.35148 | 4.5235 | 0.31055 | 5.0475 | 0.33698 | 5.1944 | 0.34798 | 5.0863 | 0.34793 | 5.0366 | 0.33819 | 5.0585 | 0.33612 | 5.0295 | 0.33905 | 5.0076 | 0.33383
Linear | 0 | IsoLine | IsoLine | 4.5503 | 0.3099 | 5.004 | 0.32621 | 4.5739 | 0.32453 | 4.8445 | 0.34942 | 4.472 | 0.30809 | 5.0096 | 0.33506 | 5.1511 | 0.34609 | 4.991 | 0.34609 | 4.9768 | 0.33613 | 5.0142 | 0.33409 | 4.9585 | 0.33677 | 4.9486 | 0.33215
Data Range | L5:P14 |  |  | 4.6151 | 0.3123 | 5.1234 | 0.33033 | 4.5002 | 0.32231 | 4.7299 | 0.34699 | 4.4247 | 0.3055 | 4.9746 | 0.33308 | 5.1111 | 0.34408 | 4.9031 | 0.34395 | 4.9217 | 0.33387 | 4.9733 | 0.33194 | 4.8931 | 0.33424 | 4.8942 | 0.33027
Filled Symbols | 1 |  |  | 4.6806 | 0.3147 | 5.2452 | 0.33447 | 4.4357 | 0.31989 | 4.6294 | 0.34427 | 4.3831 | 0.3029 | 4.944 | 0.33109 | 5.0761 | 0.34203 | 4.8262 | 0.34159 | 4.8735 | 0.33151 | 4.9374 | 0.32978 | 4.8357 | 0.33158 | 4.8465 | 0.32826
ConcAge | 0 |  |  | 4.7469 | 0.3171 | 5.3695 | 0.33861 | 4.3828 | 0.31739 | 4.547 | 0.34137 | 4.3491 | 0.30037 | 4.9189 | 0.32919 | 5.0474 | 0.34002 | 4.763 | 0.3391 | 4.8339 | 0.32913 | 4.9081 | 0.32767 | 4.7887 | 0.32888 | 4.8073 | 0.32621
ConcSwap | 0 |  |  | 4.814 | 0.31951 | 5.4962 | 0.34277 | 4.3435 | 0.31488 | 4.4857 | 0.3384 | 4.3238 | 0.29801 | 4.9002 | 0.32744 | 5.0261 | 0.33813 | 4.7161 | 0.33658 | 4.8045 | 0.32682 | 4.8862 | 0.3257 | 4.7537 | 0.32624 | 4.7783 | 0.32419
1st Symbol-row | 1 |  |  | 4.8819 | 0.32193 | 5.6254 | 0.34695 | 4.3193 | 0.31247 | 4.448 | 0.33549 | 4.3083 | 0.29592 | 4.8887 | 0.32591 | 5.013 | 0.33642 | 4.6872 | 0.33412 | 4.7864 | 0.32468 | 4.8728 | 0.32394 | 4.7322 | 0.32378 | 4.7604 | 0.32227
|  |  |  | 4.9505 | 0.32434 | 5.7572 | 0.35113 | 4.3111 | 0.31025 | 4.4353 | 0.33273 | 4.303 | 0.29417 | 4.8849 | 0.32466 | 5.0086 | 0.33497 | 4.6774 | 0.33182 | 4.7803 | 0.32279 | 4.8683 | 0.32247 | 4.725 | 0.32158 | 4.7544 | 0.32054
|  |  |  | 5.0199 | 0.32677 | 5.8916 | 0.35533 | 4.3193 | 0.3083 | 4.4481 | 0.33023 | 4.3084 | 0.29283 | 4.8888 | 0.32373 | 5.0131 | 0.33383 | 4.6872 | 0.32976 | 4.7865 | 0.32121 | 4.8729 | 0.32134 | 4.7323 | 0.31972 | 4.7605 | 0.31905
|  |  |  | 5.0902 | 0.32919 | IsoLine | IsoLine | 4.3436 | 0.3067 | 4.4858 | 0.3281 | 4.324 | 0.29196 | 4.9004 | 0.32317 | 5.0263 | 0.33304 | 4.7162 | 0.32803 | 4.8046 | 0.32001 | 4.8864 | 0.32059 | 4.7539 | 0.31829 | 4.7784 | 0.31787
|  |  |  | 5.1613 | 0.33163 |  |  | 4.383 | 0.30552 | 4.5471 | 0.3264 | 4.3494 | 0.29158 | 4.9191 | 0.323 | 5.0477 | 0.33263 | 4.7631 | 0.3267 | 4.8341 | 0.31923 | 4.9083 | 0.32025 | 4.789 | 0.31733 | 4.8075 | 0.31704
|  |  |  | 5.2332 | 0.33406 |  |  | 4.436 | 0.30479 | 4.6296 | 0.32522 | 4.3836 | 0.29171 | 4.9443 | 0.32321 | 5.0765 | 0.33263 | 4.8264 | 0.3258 | 4.8738 | 0.31891 | 4.9378 | 0.32033 | 4.8361 | 0.31688 | 4.8467 | 0.31659
|  |  |  | 5.3059 | 0.3365 |  |  | 4.5005 | 0.30454 | 4.7301 | 0.32459 | 4.4252 | 0.29235 | 4.975 | 0.32381 | 5.1115 | 0.33302 | 4.9034 | 0.32538 | 4.9221 | 0.31906 | 4.9737 | 0.32084 | 4.8935 | 0.31696 | 4.8944 | 0.31654
|  |  |  | 5.3795 | 0.33895 |  |  | 4.5742 | 0.30479 | 4.8447 | 0.32453 | 4.4726 | 0.29347 | 5.01 | 0.32477 | 5.1515 | 0.3338 | 4.9912 | 0.32546 | 4.9772 | 0.31967 | 5.0146 | 0.32174 | 4.959 | 0.31757 | 4.9489 | 0.3169
|  |  |  | 5.454 | 0.3414 |  |  | 4.6541 | 0.30552 | 4.9691 | 0.32506 | 4.5241 | 0.29503 | 5.048 | 0.32605 | 5.1949 | 0.33493 | 5.0866 | 0.32603 | 5.037 | 0.32072 | 5.059 | 0.32302 | 5.03 | 0.31867 | 5.008 | 0.31764
|  |  |  | 5.5293 | 0.34385 |  |  | 4.7372 | 0.30671 | 5.0985 | 0.32614 | 4.5776 | 0.29697 | 5.0875 | 0.32761 | 5.24 | 0.33638 | 5.1857 | 0.32706 | 5.0992 | 0.32216 | 5.1052 | 0.32461 | 5.1039 | 0.32024 | 5.0694 | 0.31874
|  |  |  | 5.6055 | 0.34631 |  |  | 4.8203 | 0.30831 | 5.2278 | 0.32774 | 4.6311 | 0.29921 | 5.127 | 0.32938 | 5.2851 | 0.33808 | 5.2848 | 0.32853 | 5.1614 | 0.32395 | 5.1513 | 0.32646 | 5.1778 | 0.32221 | 5.1308 | 0.32015
|  |  |  | 5.6826 | 0.34877 |  |  | 4.9002 | 0.31025 | 5.3522 | 0.3298 | 4.6825 | 0.30167 | 5.1649 | 0.3313 | 5.3285 | 0.33997 | 5.3801 | 0.33037 | 5.2212 | 0.32601 | 5.1957 | 0.32849 | 5.2488 | 0.32449 | 5.1898 | 0.32183
|  |  |  | 5.7605 | 0.35124 |  |  | 4.9738 | 0.31247 | 5.4668 | 0.33223 | 4.7299 | 0.30426 | 5.1999 | 0.33328 | 5.3684 | 0.34198 | 5.468 | 0.33251 | 5.2762 | 0.32827 | 5.2366 | 0.33064 | 5.3142 | 0.32702 | 5.2443 | 0.32371
|  |  |  | 5.8394 | 0.35371 |  |  | 5.0383 | 0.31489 | 5.5673 | 0.33495 | 4.7714 | 0.30686 | 5.2305 | 0.33527 | 5.4034 | 0.34403 | 5.545 | 0.33487 | 5.3245 | 0.33063 | 5.2724 | 0.3328 | 5.3716 | 0.32968 | 5.2919 | 0.32572
|  |  |  | 5.9193 | 0.35618 |  |  | 5.0912 | 0.31739 | 5.6497 | 0.33785 | 4.8054 | 0.30939 | 5.2556 | 0.33717 | 5.4322 | 0.34604 | 5.6081 | 0.33736 | 5.3641 | 0.33301 | 5.3018 | 0.33491 | 5.4186 | 0.33238 | 5.3311 | 0.32777
|  |  |  | 6 | 0.35867 |  |  | 5.1306 | 0.3199 | 5.711 | 0.34082 | 4.8307 | 0.31175 | 5.2743 | 0.33892 | 5.4535 | 0.34793 | 5.6551 | 0.33988 | 5.3935 | 0.33532 | 5.3236 | 0.33688 | 5.4536 | 0.33502 | 5.3601 | 0.32979
|  |  |  | 6 | 0.35867 |  |  | 5.1548 | 0.32231 | 5.7487 | 0.34373 | 4.8463 | 0.31384 | 5.2858 | 0.34045 | 5.4666 | 0.34964 | 5.684 | 0.34234 | 5.4116 | 0.33746 | 5.3371 | 0.33864 | 5.4751 | 0.33748 | 5.378 | 0.33171
|  |  |  | IsoLine | IsoLine |  |  | 5.1629 | 0.32453 | 5.7614 | 0.34649 | 4.8515 | 0.31559 | 5.2896 | 0.3417 | 5.471 | 0.35109 | 5.6937 | 0.34464 | 5.4177 | 0.33935 | 5.3416 | 0.34011 | 5.4823 | 0.33968 | 5.384 | 0.33344
[8 empty] | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll